{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":19,"n_cols":5,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["・Q検定法によるデータ棄却（９０％信頼限界）"]
["測定回数（データ数）",5]
[]
["データ","範囲","Q比","棄却係数Q","判定結果"]
[101,100,0.81000000238418579,0.64,"棄却"]
[20]
[9]
[8]
[1,100,7.0000000298023224E-2,0.64,"棄却不可"]
[]
[]
[]
[]
[]
[]
["【使い方】"]
["1) データの個数をセルに入力"]
["2) 「データ」列に、それぞれの測定値を入力"]
["3) 下のボタンを押すと、最大値と最小値について棄却可能かどうか判定される"]